Accuracy indicates how close a measurement is to the accepted “true” value. For example, a scale is expected to read 100 grams if a standard 100 gram weight is placed on it. If the scale

does not read 100 grams, then the scale is said to be inaccurate.

The weight measured for a person might vary according to the accuracy of the instruments being used. Unless “true” weight is known (i.e., there is a known standard to judge each scale), it cannot be determined which scale is most accurate. Generally, when a scale or any other measuring device is used, the readout is automatically accepted without really thinking about its validity. People do this without knowing if the tool is giving an accurate measurement. Also, modern digital instruments make us feel like they are accurate and reliable due to all the digits they might display that this basic rule is forgotten—there is no such thing as a perfect measurement. Digital equipment does not guarantee 100% accuracy.

Precision is generally referred to in one of two ways. It can refer to the degree to which repeated readings on the same quantity agree with each other. How close are your answers?

Precision can also be referred to in terms of the unit used to measure an object. Precision

depends on the refinement of the measuring tool. No measurement is perfect. When making a measurement, scientists give their best estimate of the true value of a measurement, along with its uncertainty.

The precision of an instrument reflects the number of digits in a reading taken from it - the degree of refinement of a measurement.

Accuracy is telling the truth.

Precision is telling the same story over and over again.